## Slide 1: Living without electricity
Prof Roger Kemp MBE FREng FRSA CEng FIET
Engineering Department, Lancaster University
28 February 2017

## Slide 2
The River Lune

## Slide 3: Electricity generation

## Slide 4: Electricity fuel mix (1 February 2017)
Image from
BM reports website

## Slide 5: The GB Transmission system
275 kV and 400 kV
Operated by National Grid plc
Total length 7,000 km
Power per line ~ 2,000 MW (depends on number of conductors)
Fed by power stations
Feeds DNOs (distribution network operators)

## Slide 6: Distribution Networks
From National Grid website

## Slide 7: The electricity network (c. 1990)
Generation
Transmission
Distribution

## Slide 8: Bi-directional power flows
From: Flexible Plug and Play, Strategic Investment Model for Future Distribution Network Planning Pudjianto, Djapic, Kairudeen, and Strbac (Imperial College), December 2014

## Slide 9
Map from NASA
Cumbria
350 mm in 24 h
Storm Desmond

## Slide 10
Peak flow: 1,742 m³/sec
Would fill an Olympic pool in 1½ sec

## Slide 11: Extent of floods
Substation

## Slide 12
Photo: Lancaster Museum
Lancaster power station c.1970

## Slide 13: History of substation
Power station next to River Lune since 1915
When it closed in 1975 substation was left
Last serious flood 1907
No-one could justify the cost and disruption of moving the substation

## Slide 14
Photo: ENWL

## Slide 15
Photo: ENWL
22:39 on 5 December 2015
Supplies lost to 60,987 consumers
Fully restored 19:18 on 8 December

## Slide 16
75 generators brought from all corners of the UK

## Slide 17: Reconfiguring the substation
Photos: ENWL

## Slide 19: Internet
Fibre from exchange to street
Routers, connecting fibre to copper, powered from mains
Broadband hubs in homes powered from mains

## Slide 20: Fixed-line phones




## Slide 21: Mobile phones
Load on 230V typically 1 kW

## Slide 22: Effects on households
No lights
No central heating
No TV or digital radio
Only traditional phones working
No internet
Powered garage doors not working
No street lights
Shops closed
Credit cards not accepted
Cash machines not working
Schools cannot get in touch
No petrol or diesel

## Slide 23: OK for those with a log burner and gas hob

## Slide 24: Living in flats
No heat
No cooking
No lights
No extractor fans
No water (inc. toilet flushing)
No lifts
No entryphone
Street door unlocked

## Slide 25: Fortuitously:
Mains water supply generally reliable
  Reservoir full
  Filtration/chlorination plant working
Sewage network didn’t flood
  Backup supplies for pumps
Gas supplies available
  Pumping/pressure reducing stations backed-up or outside affected area

## Slide 26: The hospital
Backup generators working
Difficult to contact patients
Some staff unable to get in
More A&E patients – unable to use other health services
People came “off the street” to use canteen and charge their phones

## Slide 27: Where to turn in a crisis?

## Slide 28: A care home
No light, heat, hot water, cooking, lifts, adjustable beds, powered medical equipment, emergency call alarm, telephone PABX, … … or TV
Chef made BBQ in garden
Relatives brought in camper van with Calor Gas cooking.

## Slide 29: Assisted living

## Slide 30: Impact on homeless people
Alternative Outcomes
Joint production by The Dukes Theatre and Lancaster District Homeless Action
Production about the floods by a group of people with experiences of street homelessness.
Photo: Darren Andrews, The Dukes Theatre

## Slide 31: Primary school
Can’t communicate with staff
Can’t contact parents
Access control not working
Alarm messages routed elsewhere
No road lighting or crossing control
Heads are on their own
  Academisation policy
  No contact from Gold Command or any other emergency coordinator

## Slide 32: Shopping
One supermarket had a backup generator contract
No other stores open
ATM in the supermarket and electronic tills working
No credit/debit card payments
Closed at 16:00 due to Sunday trading laws, when still very busy.

## Slide 33: Impact on University
Closed for Christmas a week early
Usual means of communicating with students didn’t work
No fire alarms or lighting so evacuated college bedrooms
Some students went home, others slept in Great Hall

## Slide 34: Department for Culture, Media and Sport
“Improved connectivity is revolutionising our quality of life, from how we work and how our children learn, to how we spend our leisure time, how we do our weekly shop, and how we engage with public services.
“Broadband Delivery UK (BDUK), part of DCMS, is delivering superfast broadband and better mobile connectivity to the nation.”
DCMS website
But it increases our dependence on 24/7 internet access

## Slide 35: Electricity at the railway station
Power supply and signalling fed from outside the area
Town supply used for:
  Platform lighting
  Public address and CCTV
  Ticket machines & ticket offices
  Point heaters, etc.
With no supply, station closed at dusk

## Slide 36: A few infrastructure dependencies*
* There are many more!
Road network
Electricity network
Data networks
(inc. GPS)
Water and drainage
Traffic lights & petrol pumps
Drainage
Supplies for power stations
Supply to pumps
Control of road signs
Control of drainage system
Power supply
Grid control
GPS

## Slide 37: Complexity

## Slide 38: What indicates complexity?
Large numbers of participants sharing responsibilities;
Wide geographical/organisational distribution of a single critical system;
Dependencies between various critical systems;
Unplanned (and unplannable) human interactions;
Many actors with incentives to optimise their own corner of the system.

## Slide 39: System control (2015 – CO2 emission 450 g/kWh)
Central
generators
Consumer loads
Distributed generators
T&D grids
Generator voltage and frequency control
Grid control

## Slide 40: System control (2030 - CO2 emission 50 g/kWh)
Central
generators
Distributed generators
T&D grids
Generator voltage and frequency control
Grid control
Home energy management,
Smart cities, community groups
Real time
price signals
Link increasingly tenuous
Controllable consumer loads

## Slide 41: The challenge of Google (and others)
Google, Apple, Microsoft and others developing home automation apps
Integration with smart cities, home and community energy networks and DNOs
Herd effects?
Cyber-crime, sabotage, … … …

## Slide 42: Dependent on (addicted to?) electricity
As a society, we are dependent on electricity
  Government policy encourages us to become more dependent
  The electricity network is becoming more complex with more “interesting” failure modes
Communications depend on the internet
  Which, in turn, depends on mains electricity
Policy is for “care in the community”
  But many medical services rely on electricity
Safety regulations have reduced risk
  But also increase our dependence

## Slide 43: Escaping dependency – creating resilience
In the home or local community?
With the service provider?
  e.g. Internet or mobile phone companies, gas and water suppliers
In the local electricity network?
With the central electricity industry?
Where should resilience be located?
Experience in Lancaster suggests doing nothing is not an option

## Slide 44
Report available on the web
Search for:
“RAEng living without electricity”